## Instructions
Water Quality Log (Chlorine & Private Supply)
How to use this template
▸ Tick above where your water comes from: public supply, private well or storage tank. That determines how often you test.
▸ Enter the free residual chlorine in mg/L and pick the appearance / smell from the drop-down. Status calculates itself and is color-coded.
▸ If you use a private well or your own tank, laboratory testing is also required (at least once a year for a non-public water system, Food Code §5-102.13): enter "External test = Y" and keep the lab report with this sheet.
▸ If the water comes from a public supply, also keep the annual water quality report (Consumer Confidence Report) that your water supplier publishes.
What each Status means
▸ OK — chlorine between 0.2 and 4.0 mg/L and Normal appearance.
▸ INCOMPLETE (amber) — you measured the chlorine but the appearance is missing.
▸ CHLORINE MISSING (amber) — the appearance is normal but there is no chlorine reading.
▸ INVESTIGATE (red) — the appearance is abnormal (cloudy, odd smell, abnormal color) or the chlorine is out of range. An abnormal appearance takes priority even if you have not measured the chlorine.
Recommended frequency
▸ With your own tank or private well: daily check of residual chlorine at one point in the system (that is why the sheet has 31 rows: a full month).
▸ With public water and no tank: weekly check, rotating the sampling points.
▸ After any construction work, tank cleaning or supply interruption: test before using the water again.
Regulatory framework & record keeping
▸ US: free chlorine residual 0.2-4.0 mg/L (40 CFR 141.72 and 141.65); private wells and other non-public systems: annual sampling (FDA Food Code §5-102.13). UK: Private Water Supplies Regulations 2016 for private supplies; your water company for the public supply.
▸ Keep these records for at least 2 years (house rule of this kit). FDA Food Code minimum: 90 days for shellstock tags and parasite-destruction records (§3-203.12, §3-402.12); follow your health department if it asks for longer.
— HACCP Food Safety Kit Pro · AI Chef Pro · aichef.pro
Version 2.0 · October 2026 · aichef.pro/en/digital-products/haccp-templates · info@aichef.pro

## Water Checks
Water Quality Log (Chlorine & Private Supply)
Water source: ☐ Public supply ☐ Private well ☐ Storage tank Person in charge: ____________________
Date | Sampling point | Residual chlorine (mg/L) | Appearance / smell | Status | External test (Y/N) | Notes
2026-09-01 | Kitchen tap | 0.6 | Normal | OK | N | (sample)
2026-09-08 | Ice machine | 0.15 | Normal | INVESTIGATE | N | Chlorine below 0.2 mg/L: water utility notified (sample)
2026-09-15 | Kitchen tap |  | Cloudy | INVESTIGATE | Y | Cloudy water: point closed and outside lab test requested · incident INC-003 (sample)
Acceptable free residual chlorine at the point of use: 0.2 - 4.0 mg/L (40 CFR 141.72 and 141.65).
INCOMPLETE = the appearance is missing. CHLORINE MISSING = the chlorine reading is missing. INVESTIGATE = there is a real deviation. The sheet never shows OK when a field is blank.
Keep these records for at least 2 years (house rule of this kit). FDA Food Code minimum: 90 days for shellstock tags and parasite-destruction records (§3-203.12, §3-402.12); follow your health department if it asks for longer.
— HACCP Food Safety Kit Pro · AI Chef Pro · aichef.pro